HORIZON EUROPE — HEDGE-IoT Open Call 1

Grant Agreement No. 101136216

AURORA

Satellite-informed Deep Learning for

Solar Power Production Forecasting and DER Optimization

D1.1

AURORA System Specification

| Deliverable No. | D1.1 |
| --- | --- |
| Deliverable Title | AURORA System Specification |
| Work Package | WP1 – AURORA Framework and Architecture Design |
| Task | T1.1 – Definition of system architecture, integration pathways, and technical specifications |
| Organisation | Sunesis |
| Due Date | M1 (Month 1) |
| Dissemination Level | CO – Confidential |
| Nature | R – Report |
| Version | 4.0 |

# Version History

| Version | Date | Author(s) | Description |
| --- | --- | --- | --- |
| 1.0 | M1 | Sunesis team | Initial release — AURORA System Specification |
| 2.0 | M1 | Sunesis team | Revised version following internal review — AURORA System Specification |
| 3.0 | M1 | Sunesis team | Version submitted for review by project partner — AURORA System Specification |
| 4.0 | M1 | Sunesis team | Version submitted for review by project committee — AURORA System Specification |

# Glossary and Abbreviations

| Abbreviation | Definition |
| --- | --- |
| API | Application Programming Interface |
| BUC | Business Use Case (HEDGE-IoT) |
| DER | Distributed Energy Resource |
| DES | Distributed Energy Storage |
| ECMWF | European Centre for Medium-Range Weather Forecasts |
| EUMETSAT | European Organisation for the Exploitation of Meteorological Satellites |
| HRES | High-RESolution ECMWF NWP model |
| IoT | Internet of Things |
| IP | Intellectual Property |
| KER | Key Exploitable Result |
| MAE | Mean Absolute Error |
| MBE | Mean Bias Error |
| MPC | Model Predictive Control |
| MSG | Meteosat Second Generation satellite |
| NWP | Numerical Weather Prediction |
| PV | Photovoltaic (solar panel system) |
| RMSE | Root Mean Square Error |
| SS | Skill Score |
| SEVIRI | Spinning Enhanced Visible and InfraRed Imager |
| TFT | Temporal Fusion Transformer |
| TRL | Technology Readiness Level |

# Table of Contents

Version History	2

Glossary and Abbreviations	3

Table of Contents	4

1. Executive Summary	6

2. Project Context and Background	6

2.1 The HEDGE-IoT Ecosystem and AURORA's Role	6

2.2 Proprietary Knowledge and IP Brought into AURORA	6

3. System Architecture	7

3.1 Architecture Overview	7

3.2 High-Level Component Architecture	7

3.3 Data Flow Diagram	8

4. Data Specification	9

4.1 Data Sources	9

4.2 Data Availability and Contingency	10

5. Forecasting Module Specification	11

5.1 Temporal Fusion Transformer Configuration	11

5.2 Model Training Protocol	11

5.3 Model Evaluation Framework	12

6. DER Optimization Module Specification	12

6.1 Model Predictive Control Framework	12

6.2 Optimization Objectives	12

6.3 Constraints	13

6.4 Integration with AURORA Forecasting Output	13

7. Integration with HEDGE-IoT and Finnish Pilot	13

7.1 Integration Objectives	13

7.2 Integration Testing Plan	13

8. Performance Requirements and KPIs	14

8.1 Key Performance Indicators	14

9. Scalability and Replicability	15

9.1 Geographic Transferability	15

9.2 Cross-Application Integration	15

9.3 Contributions to HEDGE-IoT Goals	15

10. Risk Management	16

11. Conclusion	17

References	18

Annex A — Third Party Background and IPR Declarations	20

A.1 Third Party(ies) Background	20

A.2 Third Party(ies) IPR	21

# 1. Executive Summary

This document constitutes Deliverable D1.1 AURORA System Specification in the scope of the project AURORA, funded under the HEDGE-IoT Open Call 1 (Horizon Europe Grant Agreement No. 101136216). It is the primary output of Task 1.1 and serves as the technical blueprint for the subsequent development and integration activities within the project.

The project builds directly on proprietary research published in 2025 in Solar Energy: “Forecasting Solar Power Production by using satellite images”, authored by the Sunesis project team, and extends it from a validated research prototype (TRL 4) to a live technology demonstration in a relevant operational environment (TRL 6).

The AURORA framework integrates three tightly coupled technical subsystems: (i) a multimodal data modelling and fusion pipeline, (ii) a Temporal Fusion Transformer (TFT)-based deep learning forecasting engine, and (iii) a Model Predictive Control (MPC) optimization layer for battery charge–discharge scheduling. Together, these subsystems form an end-to-end forecasting and optimization service that will be deployed within the Finnish Pilot of HEDGE-IoT, addressing Business Use Case 3 (BUC-3): DER Optimization Tools.

This specification defines the system architecture, component interfaces, integration pathways with the Finnish Pilot, performance requirements, and verification approach aligned with project milestones. It constitutes the technical reference for Milestones MS1, MS2, and MS3.

# 2. Project Context and Background

## 2.1 The HEDGE-IoT Ecosystem and AURORA's Role

HEDGE-IoT is a project that aims to promote, deploy, and pilot sustainable energy solutions and advanced AI/ML tools across energy systems, enhancing resilience and unlocking untapped flexibility potential. The project encompasses six European pilots, covering smart grid automation, flexibility markets, and energy communities.

AURORA participates in HEDGE-IoT as a cascade-funded project under Open Call 1. It targets the Finnish Pilot (Demo 1 – Finland: next-generation grid automation with IoT and edge/cloud data) and Business Use Case 3 (DER Optimization Tools). The framework will contribute directly to HEDGE-IoT Objectives 2, 3, 4, 7, 8, and 9, particularly around AI/ML tools for edge/cloud services, interoperability, and market adoption of AI-based forecasting and optimization services.

## 2.2 Proprietary Knowledge and IP Brought into AURORA

Sunesis is an SME bringing over 30 years of combined team expertise across cloud-native applications, edge computing, IoT, AI/ML, data science, and energy domain applications. The scientific and technical foundation of AURORA is based on Sunesis's prior research and project experience: the 2025 publication "Forecasting Solar Power Production by Using Satellite Images" (Solar Energy, Elsevier, DOI: 10.1016/j.solener.2025.113823) provides the validated methodological core of the forecasting module, while DER optimization methods developed in the Horizon Europe projects INTERSTORE (Grant ID 101096511) and Green.DAT.AI (Grant ID 101070416) underpin the MPC-based scheduling layer. The proprietary software, trained models, data-processing pipelines, and derived datasets produced through this prior work constitute the Background on which AURORA builds.

The full declaration of Sunesis Background and IPR, including ownership and access rights conditions, is set out in the Sub-grant Agreement (Third Party(ies) Background and Third Party(ies) IPR tables) and reproduced in Annex A of this document.

# 3. System Architecture

## 3.1 Architecture Overview

The AURORA system is structured as a modular, three-layer architecture designed for deployment in cloud or edge computing environments within the HEDGE-IoT infrastructure. The three layers are:

- Data Layer: Responsible for ingesting, preprocessing, aligning, and storing multimodal inputs from external data sources and the HEDGE-IoT infrastructure.

- Intelligence Layer: The TFT-based deep learning forecasting engine that processes fused inputs and generates probabilistic multi-horizon solar power forecasts.

- Optimization Layer: The MPC-based DER scheduling engine that consumes forecast outputs and produces actionable battery charge–discharge schedules.

The architecture is designed for both geographic transferability and system scalability. Its multimodal, location-agnostic input design allows deployment at new geographic locations, while standardized interfaces support integration with other HEDGE-IoT services and pilots.

## 3.2 High-Level Component Architecture

The AURORA framework comprises the functional components listed in Table 1, covering data acquisition and processing, multimodal data fusion, solar power forecasting, model evaluation, DER optimization, data exchange, and system monitoring. Together, these components implement the end-to-end workflow from the ingestion of external and Finnish Pilot data to the generation and delivery of forecast-informed battery setpoints. The table summarizes the role of each component and maps it to the AURORA task responsible for its development, integration, or validation.

| Component | Description | Task |
| --- | --- | --- |
| Data Ingestion Service | Collects and validates raw data from input sets (NWP (optional), solar generation, satellite images, DER measurements). Implements retry logic, error flagging, and data quality scoring. | T2.1 |
| Preprocessing Pipeline | Spatiotemporal alignment (UTC, 15 min resolution), anomaly cleaning, normalization, and daylight filtering. Outputs standardized tensors. | T2.1 |
| Data Fusion Module | Harmonizes data streams into a unified multimodal dataset optimized for TFT input. Implements feature engineering. | T2.2 |
| TFT Forecasting Engine | Core deep learning model producing 2-hour ahead solar power forecasts at 15-minute intervals. Includes model versioning and inference APIs. | T3.1, T3.2 |
| Model Evaluation Module | Computes MAE, RMSE, Skill Score against benchmarks. Supports online drift detection for production deployments. | T3.2 |
| MPC Optimization Engine | Consumes TFT forecasts to solve battery scheduling optimization. Outputs charge–discharge setpoints at 15-minute intervals. | T4.1 |
| Data Exchange Interface | REST/MQTT API layer compatible with HEDGE-IoT interoperability framework. Handles authentication, rate limiting, and data format negotiation. | T1.1, T2.1 |
| Monitoring & Logging | System health, data pipeline status, model performance, and optimization outcome tracking. Feeds into project reporting. | T6.1 |

Table 1. High-Level Functional Components of the AURORA Framework.

## 3.3 Data Flow Diagram

The AURORA data flow follows a sequential pipeline from external data acquisition through model inference to actionable DER control signals. All components are connected through the AURORA Data Exchange Interface, which exposes forecasting and optimization outputs as standardized data streams for integration with other HEDGE-IoT services and pilots. Figure 1 illustrates the overall pipeline design.

Figure 1. High-level Overview of the AURORA Framework.

# 4. Data Specification

## 4.1 Data Sources

AURORA integrates four distinct data streams (Sets I–IV). The following table specifies the technical parameters of each input:

| Set | Source | Resolution | Variables | Processing | Notes |
| --- | --- | --- | --- | --- | --- |
| Set I (optional) | ECMWF HRES NWP (15-day forecast) | 1h | GHI, DNI, T, RH, Wind, Cloud cover | Bilinear spatial interpolation, temporal upsampling to 15 min | During the initial framework development, weather variables will not be included in the input dataset. If weather data are subsequently required to improve model performance, freely available products such as the ECMWF Open IFS Medium-range Control forecast and the ECMWF AIFS Single 15-day forecast may be considered. |
| Set II | Fingrid (solar generation at the pilot sites) | 15 min | PV power output | Anomaly cleaning, UTC alignment, daylight filtering, cross-site interpolation |  |
| Set III | EUMETSAT MSG SEVIRI L1.5 (MSG-0°) | 15 min, 1–3 km²/px | 12 spectral channels (VIS to TIR) | Per-channel normalisation, missing pixel/frame interpolation, spatial crop to region of interest |  |
| Set IV | Finnish Pilot DER Measurements | 15 min | Battery state of charge (SoC), load demand, grid exchange | Real-time ingestion, validation, integration with Sets I–III via temporal alignment | If the raw data have a temporal resolution other than 15 minutes, they will be resampled to 15-minute intervals before being used in the framework. |

Table 2. Technical Parameters and Processing Requirements for Multimodal Input Data Streams (Sets I–IV).

## 4.2 Data Availability and Contingency

The following contingency strategies are embedded in the AURORA architecture to address potential data unavailability:

- Satellite images as fallback: If PV generation measurements are temporarily unavailable or of poor quality, satellite-derived features (Set III) may support the functioning of the forecasting module. However, PV generation remains necessary for model training, calibration, and performance evaluation.

- Public data supplements: If weather data are required to improve model performance during later stages of AURORA framework development, freely available products such as the ECMWF Open IFS Medium-range Control forecast and the ECMWF AIFS Single 15-day forecast may be considered.

- Data validation routines: Automated quality checks will flag and interpolate missing values, with configurable thresholds for data gap tolerance.

# 5. Forecasting Module Specification

## 5.1 Temporal Fusion Transformer Configuration

The TFT model configuration applied in AURORA follows the architecture validated in the Sunesis 2025 publication and is parameterized as described below. Final values are subject to hyperparameter optimization on the Finnish Pilot dataset (T3.1).

| Parameter | Specification |
| --- | --- |
| Forecast horizon | 8 time steps (2 hours at 15-minute intervals) |
| Historical context window | Determined using hyperparameter optimization (typically 2–48 hours) |
| Input modalities | Sets II–IV, and optionally Set I |
| Model architecture | Temporal Fusion Transformer (Lim et al., 2021) |
| Feature selection | Variable Selection Networks with Gated Residual Networks |
| Temporal attention | Multi-head self-attention (interpretable) |
| Hyperparameter optimization | Bayesian search |
| Regularization | Dropout, early stopping, and weight decay |
| Training batch | ~10,000 data points per epoch (sliding window) |
| Target variable | AC power output (or normalized capacity factor) per PV site |
| Loss function | Quantile loss (for probabilistic output) |

Table 3. Configuration Parameters and Architectural Specifications for the TFT model.

## 5.2 Model Training Protocol

The training protocol will follow the approach established in the Sunesis foundational research, adapted to the Finnish Pilot data:

- Train/validation/test split based on temporal cross-validation, ensuring no data leakage.

- Cross-site training: the model will be trained jointly across all available PV sites to leverage multi-site patterns.

- Daytime-only training: data will be filtered to daylight hours to improve signal quality.

- Normalization: all input features are z-score normalized per variable, and the target variable is normalized by installed capacity.

- Iterative refinement: the model will be retrained after pilot data pipeline validation (MS1) to incorporate site-specific characteristics.

## 5.3 Model Evaluation Framework

Model performance will be assessed using the following metrics, reported per forecast horizon step and averaged across all pilot PV sites:

| Metric | Formula |
| --- | --- |
| MAE | Mean of absolute error |
| RMSE | Root of mean squared error |
| Skill Score | 1 − errorproposed_model / errorreference_model |

Table 4. Forecasting Performance Evaluation Framework.

# 6. DER Optimization Module Specification

## 6.1 Model Predictive Control Framework

The AURORA optimization layer implements an MPC approach for battery energy storage system (BESS) charge–discharge scheduling. MPC is selected because its receding-horizon formulation allows battery schedules to be updated as new forecasts and measurements become available.

The MPC formulation builds on optimization methods developed by Sunesis in the INTERSTORE and Green.DAT.AI Horizon Europe projects, adapted to the context of the Finnish Pilot.

## 6.2 Optimization Objectives

The optimization simultaneously balances three objectives, with weights configurable by the pilot operator:

- Minimize grid import/export: Reduce dependence on grid exchange, supporting local energy balancing.

- Maximize self-consumption: Prefer utilization of locally generated solar power, increasing the economic value of the PV installation.

- Extend battery lifetime: Apply cycle-aware constraints and depth-of-discharge penalties to reduce battery degradation, improving asset lifetime and reducing operational costs.

## 6.3 Constraints

The optimization is subject to the following operational constraints:

- SoC bounds (SoCmin, SoCmax): typically 10–90% of usable battery capacity.

- Maximum charge/discharge power rate (Pcharge_max, Pdischarge_max): defined by battery inverter specifications.

- Grid exchange limits: any contractual or regulatory import/export limits at the pilot site.

- Power balance: at every time step, the net power at the grid connection point must satisfy the instantaneous balance equation.

Constraint values for the Finnish Pilot will be defined jointly with the pilot provider during T2.1 and confirmed no later than MS1.

## 6.4 Integration with AURORA Forecasting Output

The MPC optimization engine consumes the TFT forecast output directly through the AURORA internal API. The 8-step (2-hour) forecast horizon is used as the MPC prediction horizon. At each 15-minute decision interval, the rolling horizon is updated with the latest forecast, implementing a receding horizon control strategy. This enables the optimizer to adapt to changing weather conditions in near real-time.

# 7. Integration with HEDGE-IoT and Finnish Pilot

## 7.1 Integration Objectives

The integration of AURORA with the Finnish Pilot environment is a key prerequisite for the validation and evaluation of the framework under operational conditions. The integration must achieve:

- Secure, real-time access to pilot-specific DER measurement data (PV generation, battery SoC, load, grid exchange signals).

- Bi-directional communication: AURORA receives measurement data and returns forecast outputs and optimization setpoints to the pilot system.

- Alignment with HEDGE-IoT’s Interoperability Framework, including data model compatibility and authentication mechanisms.

- Robust operation under network variability typical of IoT environments (connection dropouts, delayed messages, sensor failures).

## 7.2 Integration Testing Plan

The integration will be validated stepwise:

- Step 1 (T2.1):

  - Establish authenticated data connection,

  - Confirm data format compatibility,

  - Validate end-to-end data flow with static test data.

- Step 2 (T3.1):

  - Validate live data ingestion during model training phase,

  - Confirm temporal alignment of data streams.

- Step 3 (T4.1):

  - Full system integration test with live forecasting and optimization output,

  - Validate setpoint delivery to pilot battery management system.

- Milestone MS1 verification:

  - End-to-end data flow validated, with preprocessing and fusion modules operational.

# 8. Performance Requirements and KPIs

## 8.1 Key Performance Indicators

The following KPIs are aligned with the project objectives (Section 1.2 of the AURORA Proposal) and Milestones MS1–MS3:

| KPI | Metric | Target | Milestone | Verification |
| --- | --- | --- | --- | --- |
| KPI 1 | Skill Score vs. smart persistence | ≥ 9.26% improvement over smart persistence (contingent on data availability) | MS2 | Experimental and operational evaluation |
| KPI 2 | Data streams integrated | Sets II–IV, with Set I integration remaining optional and considered only if required to improve model performance. | MS1 | Operational log of the data pipeline |
| KPI 3 | Battery scheduling efficiency vs. baseline | ≥ 10% improvement (contingent on data availability) | MS3 | Energy balance analysis, D4.1 |
| KPI 4 | System uptime during demonstration | ≥ 95% | MS3 | Monitoring logs, D4.1 |

Table 5. KPIs and Milestones for AURORA Framework Development.

# 9. Scalability and Replicability

## 9.1 Geographic Transferability

AURORA is architected as a location-agnostic framework. The multimodal input design, particularly the use of satellite images (which provides pan-European coverage) and publicly available NWP data, means the forecasting module can be deployed at any EU location without requiring a pre-existing dense network of local ground measurements. This was empirically validated across 233 geographically diverse PV sites in Slovenia in the foundational Sunesis research.

Geographic transferability implies that AURORA can be adapted for additional HEDGE-IoT pilots (e.g., Greece, Italy, Slovenia) with minor modification: the data fusion pipeline need only be reconfigured to ingest site-specific data, the TFT model retrained on available data, and the MPC constraints updated to reflect site-specific DER parameters.

## 9.2 Cross-Application Integration

AURORA's standardized output interfaces enable horizontal integration across diverse energy applications:

- Grid automation (Finnish Pilot): direct use of forecasts for DER scheduling, as will be demonstrated in this project.

- Local flexibility markets (Italian Pilot): forecasts inform flexibility bids submitted to local energy markets.

- Digitalized energy communities (Dutch Pilot): forecasts support peer-to-peer energy trading decisions.

- AI-based energy services (Slovenian Pilot): forecasts serve as a high-quality data input for other AI/ML models within the HEDGE-IoT ecosystem.

## 9.3 Contributions to HEDGE-IoT Goals

Through its design, AURORA contributes to the following HEDGE-IoT strategic goals:

- Intelligence at edge and cloud layers: TFT inference is lightweight enough for edge deployment, and training is cloud-based on Sunesis infrastructure.

- Upgrading RES hosting capacity: Higher accuracy forecasts reduce curtailment risks and allow more aggressive renewable integration.

- Creating new market opportunities: Forecast-as-a-Service (FaaS) and Optimization-as-a-Service (OaaS) commercial models will be piloted post-demonstration.

- Interoperability and data spaces: Standardized interfaces implement the energy data spaces concept adopted within HEDGE-IoT.

# 10. Risk Management

The following technical and operational risks have been identified and mitigated at the system specification level:

| Risk | Severity | Likelihood | Mitigation (System Level) |
| --- | --- | --- | --- |
| Insufficient data quality or availability from Finnish Pilot | High | Low | Satellite Set III serves as fallback; open public datasets supplement; automated validation routines with gap interpolation are built into the pipeline specification. |
| TFT model underperforms on Finnish Pilot-specific conditions | Medium | Medium | Architecture supports hyperparameter retuning (T3.1); LSTM benchmark is maintained as fallback; pilot-specific weather features can be added via the variable selection network. |
| Integration issues with HEDGE-IoT / Finnish Pilot runtime | High | Low | Data Exchange Interface specification is defined in this document (Sections 3.2 and 3.3); stepwise integration testing protocol defined (Section 7.2); clear documentation maintained from M1. |
| Satellite data access disruption (EUMETSAT outage) | Medium | Low | EUMETSAT historical archive allows retrospective gap-filling; if Set I has been integrated, an NWP-assisted degraded mode may be used; otherwise, the forecasting module will rely on historical PV production and persistence-based fallback methods. |
| MPC optimization convergence failure | Low | Low | Rule-based fallback control is implemented as default; MPC activated only when forecast quality threshold is met. |

Table 6. Technical and Operational Risk Assessment with System-Level Mitigation Strategies.

# 11. Conclusion

This System Specification establishes the technical foundation for the AURORA project and fulfils the requirements of Deliverable D1.1 under Task 1.1 of the HEDGE-IoT Open Call 1.

The document has defined the architecture, data inputs, model configuration, optimization formulation, integration pathways, and performance requirements that will govern subsequent development activities. Three key design principles run through every layer of the specification:

- Scientific grounding. The AURORA framework is not a greenfield design — it is an operationalization of validated, peer-reviewed research. The 9.26% forecast skill improvement over smart persistence, demonstrated across 233 PV sites in Slovenia by the Sunesis team, provides an empirically supported reference level that the system is intended to achieve and improve upon in the Finnish Pilot. This scientific foundation, combined with Sunesis's proprietary datasets, trained model artefacts, and DER optimization know-how from INTERSTORE and Green.DAT.AI, de-risks the technical execution of the project.

- Modularity and interoperability. Each of the three subsystems (data fusion pipeline, TFT forecasting engine, and MPC optimization layer) is defined as a separate component with clearly specified interfaces. This modularity ensures that the system can be validated incrementally (aligned with MS1, MS2, and MS3), adapted to data availability constraints without redesign, and replicated across other HEDGE-IoT pilots with minor reconfiguration.

- Scalability as a design principle. The choice of satellite images as a primary input modality, the cross-site training paradigm of the TFT, and the standardized REST-based Data Exchange Interface are all deliberate architectural decisions that support AURORA’s geographic transferability and integration across different energy applications. The framework that will be demonstrated on the Finnish Pilot is, by design, deployable across the broader HEDGE-IoT ecosystem and the wider European energy market.

Upon successful demonstration, AURORA is expected to advance from TRL 4 to TRL 6, delivering a reusable forecasting and optimization engine that contributes to HEDGE-IoT's mission of enabling intelligent, interoperable, and resilient distributed energy systems across Europe.

# References

[1]	Stefanov, D., Demsar, J. Forecasting solar power production by using satellite images. Solar Energy, Elsevier, 2025. https://www.sciencedirect.com/science/article/pii/S0038092X25005869

[2]	Lim, B., Arık, S. Ö., Loeff, N., Pfister, T. Temporal Fusion Transformers for interpretable multi-horizon time series forecasting. International Journal of Forecasting, 37(4), 1748–1764, 2021. https://arxiv.org/abs/1912.09363

[3]	European Centre for Medium-Range Weather Forecasts (ECMWF). Atmospheric Model High-Resolution Forecasts (HRES) — Set I. ECMWF Forecasts Dataset, 2024. https://www.ecmwf.int/en/forecasts/datasets/set-i

[4]	EUMETSAT. High Rate SEVIRI Level 1.5 Image Data — MSG (Rapid Scanning). EUMETSAT Data Navigator, 2024. https://data.eumetsat.int/product/EO:EUM:DAT:MSG:HRSEVIRI

[5]	Fingrid. Solar Power Generation Data — Electricity Market Information. Fingrid Open Data Portal, 2024. https://www.fingrid.fi/en/electricity-market-information/solar-power/

[6]	HEDGE-IoT Consortium. HEDGE-IoT: Harnessing Energy Distributed GEnerations with IoT — Project Overview. Horizon Europe Grant Agreement No. 101136216, 2023. https://hedgeiot.eu/about/

[7]	Rezaeimozafar, M., Duffy, M., Monaghan, R. F. D., Barrett, E. Residential PV-battery scheduling with stochastic optimization and neural network-driven scenario generation. Energy Reports, 12, 418–429, 2024. https://doi.org/10.1016/j.egyr.2024.06.017

[8] 	Lalbiakhlua, K., Deb, S., Singh, K. R., Datta, S., Shuaibu, H. A., Ustun, T. S. Deep learning based solar forecasting for optimal PV BESS sizing in ultra fast charging stations. Scientific Reports, 15, 32392, 2025. https://doi.org/10.1038/s41598-025-17408-0

[9] 	Ali, M. A., Besheer, A. H., Emara, H. M., Bahgat, A. Optimal micro-grid battery scheduling within a comprehensive smart pricing scheme. Scientific Reports, 15, 20098, 2025. https://doi.org/10.1038/s41598-025-02690-9

[10] 	Mohamadi, M. J., Tolou Askari, M., Samiei Moghaddam, M., Ghods, V. Optimizing energy flow in advanced microgrids: A prediction-independent two-stage hybrid system approach. Energy Informatics, 8, 65, 2025. https://doi.org/10.1186/s42162-025-00523-7

[11] 	Durán, F., Pavón, W., Minchala, L. I. Forecast-Based Energy Management for Optimal Energy Dispatch in a Microgrid. Energies, 17(2), 486, 2024. https://doi.org/10.3390/en17020486

[12] 	Boutahir, M. K., Farhaoui, Y., Azrour, M., Sedik, A., Nasralla, M. M. Advancing Solar Power Forecasting: Integrating Boosting Cascade Forest and Multi-Class-Grained Scanning for Enhanced Precision. Sustainability, 16(17), 7462, 2024. https://doi.org/10.3390/su16177462

[13]	INTERSTORE Consortium. Interoperable open-source tools to enable hybridisation, utilisation, and monetisation of storage flexibility (INTERSTORE). CORDIS — Horizon Europe, Grant ID 101096511, 2022. https://cordis.europa.eu/project/id/101096511

[14]	Green.DAT.AI Consortium. Energy-efficient AI-ready Data Spaces (Green.DAT.AI). CORDIS — Horizon Europe, Grant ID 101070416, 2021. https://cordis.europa.eu/project/id/101070416

[15]	European Commission. Digitalisation of Energy System — EU Action Plan. European Commission, Energy Topics, 2024. https://energy.ec.europa.eu/topics/eus-energy-system/digitalisation-energy-system_en

[16]	European Commission. Strategic Roadmap for Digitalisation and AI in the Energy Sector. European Commission, Energy News, 2025. https://energy.ec.europa.eu/news/strategic-roadmap-digitalisation-and-ai-energy-sector-consultations-opened-2025-08-06_en

[17]	European Parliament and Council. Regulation (EU) 2024/1689 — Artificial Intelligence Act. Official Journal of the European Union, 2024. https://artificialintelligenceact.eu/

[18]	European Commission. Data Governance Act — Regulation (EU) 2022/868. European Commission, Digital Strategy, 2022. https://digital-strategy.ec.europa.eu/en/policies/data-governance-act

[19]	European Commission. The European Green Deal. European Commission Strategy and Policy, 2019. https://commission.europa.eu/strategy-and-policy/priorities-2019-2024/european-green-deal_en

[20]	MarketsandMarkets. Energy-as-a-Service Market — Global Forecast to 2030. MarketsandMarkets Press Release, 2024. https://www.marketsandmarkets.com/PressReleases/energy-as-a-service.asp

[21]	Sunesis d.o.o. Legacy Protocol Converter (LCP). Linux Foundation for Energy — GitHub Repository, 2023. https://github.com/cupid-project/Legacy-Protocol-Converter

[22]	HEDGE-IoT Consortium. The Future Runs on Data: Building Europe’s Interoperable Energy Ecosystem. HEDGE-IoT Blog, 2024. https://hedgeiot.eu/the-future-runs-on-data-building-europes-interoperable-energy-ecosystem/

# Annex A — Third Party Background and IPR Declarations

The following tables constitute the formal declaration of Sunesis’s third party Background and Intellectual Property Rights (IPR) as required by the HEDGE-IoT Open Call 1 Sub-grant Agreement.

## A.1 Third Party(ies) Background

| Third Party(ies) Background |  |
| --- | --- |
| Selected Third Party Partner - Project Manager Sunesis d.o.o. / dr. Eva Zupancic | Sunesis brings the following pre-existing, exclusively owned Background, developed prior to and independently of the action and forming the proprietary foundation on which AURORA builds: - The KumuluzAI platform — Sunesis's proprietary, production-grade enterprise AgenticAI platform — together with its components, architecture and supporting software. - Proprietary AI models and AI agents, and proprietary predictive/forecasting models, including the satellite-informed TFT-based solar power forecasting model originating from prior Sunesis research ("Forecasting solar power production by using satellite images", 2025). - Proprietary software code, modules and methods, including data-fusion and preprocessing pipelines, multimodal data-modelling code, and DER/storage optimization algorithms building on prior Sunesis R&D (e.g., Green.DAT.AI, INTERSTORE). - Proprietary data-processing pipelines and derived/curated datasets and feature sets generated in previous projects and industry cooperation (raw third-party source data, e.g., ELES PV generation data, remains the property of the respective data provider). - Scientific foundations, comprising over 100 peer-reviewed publications authored by the Sunesis team. - Trade secrets and know-how protected by internal confidentiality agreements and secure access controls. This Background is owned or controlled exclusively by Sunesis. It is used as the internal foundation for the action and is not introduced into the Service, nor made available to the HEDGE-IoT Beneficiaries, beyond the minimum strictly necessary for the implementation of the Service. Any Access Rights to this Background are limited to what is strictly needed, granted on a case-by-case basis under a separate written agreement, and — where needed for the Beneficiaries' own exploitation — on Fair and Reasonable conditions to be negotiated. |

## A.2 Third Party(ies) IPR

| Third Party(ies) IPR |  |
| --- | --- |
| Selected Third Party Partner - Project Manager Sunesis d.o.o. / dr. Eva Zupancic | Sunesis's IPR foundation combines trade secrets, proprietary know-how, protected datasets gathered from previous projects, industry cooperation, and scientific publications. The strategy to protect the technology rights of AURORA embraces the deep-tech protection paradigm, prioritising trade secrets, proprietary know-how and controlled data access over broad software patenting. All AURORA software modules, algorithms, trained models and datasets are protected under strict internal confidentiality agreements, secure access controls and contractual NDAs, preserving core innovations as Sunesis trade secrets and internal know-how, with all Results solely owned by Sunesis. Pre-existing IPR retained exclusively by Sunesis includes: the KumuluzAI platform and its software; proprietary AI models, AI agents and predictive/forecasting models (including the satellite-informed TFT solar forecasting model); proprietary software code and optimization algorithms; proprietary data-processing pipelines and derived datasets; and the body of >100 peer-reviewed publications authored by the Sunesis team. Any pilot-generated or operational data collected within the Finnish Pilot remains under the ownership of the pilot provider and is used strictly for testing and validation within the agreed framework. AURORA does not involve personal or sensitive data, operating solely on technical datasets (solar power generation, meteorological data and DER measurements); no ethical risks to individuals are foreseen. The project nevertheless follows EU AI Act and GDPR-aligned principles (data minimisation, anonymisation where applicable, full compliance with EU Data Governance Act standards) and will adhere to AI conformity assessment procedures under the EU AI Act for limited-risk AI systems, as well as any national requirements at the piloting location. Sunesis confirms that there is no active engagement or formal collaboration with the HEDGE-IoT consortium partners or the business use case provider. |